## Remote SCADA sites
Site | Lat Long | Purpose | Address | UPS | PLC | Radio
Big Dry LS | 39°59'30.0"N 104°56'24.1"W | Lift Station | 16400 Colorado blvd | SOLA UPS | M340 | MDS SD9
Fox Run LS | 39°53'43.4"N 104°57'03.3"W | Lift Station | 3694 East 109th | [Pending] | [Pending] | MDS SD9
Grange Creek LS | 39°52'56.8"N 104°55'47.5"W | Lift Station | 10275 Riverdale Rd. | Generator | 171CBU98090 Firmware V2.80 | MDS 4710
Northglenn PS A | 39°53'18.7"N 104°57'45.8"W | Lift Station | 106th & Irma Dr. | [Pending] | 171CBU98090 Firmware V2.80 | MDS SD9
Riverdale LS | 39°52'19.1"N 104°55'23.6"W | Lift Station | 9564 Riverdale Rd | Emerson 80LAHD | M340 V3.65 IR2 | MDS SD4
Sky Lake LS | 39°54'25.2"N 104°54'19.2"W | Lift Station | 116th & Riverdale Rd. | APC Back-UPS 450 | 171CBU98090 Firmware V2.80 | MDS 4710
Thornton Crossing LS | 39°51'26.3"N 104°56'23.6"W | Lift Station | 88th and Colorado, in 711 parking lot | APC 1500 | 171CBU98090 Firmware V2.80 | MDS 4710
112th Meter Vault | 39°53'57.0"N 105°00'56.3"W | Metering | 112th & Alcott | APC Back-UPS 600 | 171CBU98090 Firmware V2.80 | MDS SD9
Brighton PS/Meter | 39°55'43.5"N 104°53'10.7"W | Metering | 128th Ave and Riverdale Rd | Generator | 171CBU98090 Firmware V2.82 | MDS iNET 900
East Spratt Pump Station | 39°52'00.9"N 104°54'48.4"W | Pump Station | 39.8669N -104.5448W | APC Back-UPS 450 | 171CBU98090 Firmware V2.80 | MDS SD9
Holly Pump Station | 39°55'26.2"N 104°55'21.2"W | Pump Station | 12663.5 Holly Street | APC Back-UPS 600 | M580 BMEP581020 V4.40 | MDS SD9
West Spratt Platte North | 39°52'39.9"N 104°54'54.8"W | Pump Station | 9820 Mckay Rd Next to Mckay PS | APC Back-UPS 600 | 171CBU98090 Firmware V2.80 | MDS TransNext 900
West Spratt Platte West | 39°52'12.4"N 104°55'17.2"W | Pump Station | E 100th ave (39.8710N -104.9213W) | Eaton 5115 | 171CBU98090 Firmware V2.80 | MDS TransNet 900
102nd/Zone 5 PS/900 Repeater | 39°52'54.6"N 105°00'38.1"W | Storage/Communication | W 102nd Ave and Ura Ln | APC Back-UPS 450 | 171CBU98090 Firmware V2.80 | MDS 9790
85th Elevated | 39°51'01.4"N 105°00'57.0"W | Storage | 2431 W. 85th Ave | APC Back-UPS 450 | 171CBU98090 Firmware V2.80 | MDS SD9
Cherokee 4M | 39°54'00.4"N 104°59'27.2"W | Storage | 301 W. 112th Ave, Northglenn | APC Back-UPS 450 | 171CBU98090 Firmware V2.80 | MDS SD9
South 5M | 39°56'30.6"N 104°56'45.6"W | Storage | 3760 East 136th Ave | APC Back-UPS 450 | 171CBU98090 Firmware V2.80 | MDS SD9
Western Hills 3M | 39°50'28.3"N 104°59'48.4"W | Storage | 7976 Elmwood Lane | APC Back-UPS 600 | 171CBU98090 Firmware V2.80 | MDS SD9
Hammer PS | 39°57'19.8"N 104°51'27.6"W | Storage PS | 14790 Riverdale Rd, Brighton | APC Pro 1500S | M580 BMEP581020 V4.40 | MDS SD4
Rogers PS | 39°59'56.7"N 104°49'44.7"W | Storage PS | 13600 E 168th Ave, Brighton | APC Pro 1500 | M580 BMEP581020 V4.40 | MDS SD9
Burlington Ditch | 39°49'58.2"N 104°56'14.7"W | Transfer | 5500 E. 75th Ave. | APC Back-UPS 650 | 171CBU98090 Firmware V2.80 | MDS TransNet 900 to Wes Brown Master
112th Meter Vault | 39°53'57.0"N 105°00'56.3"W | Metering | 112th & Alcott | APC Back-UPS 600 | 171CBU98090 Firmware V2.80 | MDS SD9
Denver Interconnect | 39°52'10.1"N 104°58'38.7"W | Transfer | 550 Thornton Pkwy, Thornton | APC Back-UPS 1500 | 171CBU98090 Firmware V2.80 | MDS SD9
27 J School District PRV | 39°56'34.9"N 104°53'39.6"W | PRV | 8181 E 136th Ave, Thornton | SOLA | 171CBU98090 Firmware V2.80 | MDS SD4
134th & Quebec PRV | 39°56'20.9"N 104°54'11.9"W | PRV | 134th & Quebec | Eaton 3S550 | 171CBU98090 Firmware V2.80 | MDS SD9
Cundall Farms PRV | 39°58'46.2"N 104°57'26.3"W | PRV | 136th & Columbine | APC Back-UPS 650 | 171CBU98090 Firmware V2.80 | MDS SD9
128th and Lafayette PRV | 39°55'44.1"N 104°58'07.8"W | PRV | 128th and Lafayette | SOLA | 171CBU98090 Firmware V2.80 | MDS SD4
Prose Farm PRV | 39°53'18.8"N 104°57'18.5"W | PRV | 2375 E 104th Ave | [Pending] | [Pending] | MDS SD9
96 and Orangewood PRV | 39°52'15.3"N 105°00'14.4"W | PRV | 9601 Orangewood Dr | APC 350 | 171CBU98090 Firmware V2.80 | MDS 4710
97th and Riverdale PRV | 39°52'22.0"N 104°55'52.3"W | PRV | 97th and Riverdale | SOLA | RAD-900-IFS | RAD-900-IFS
East Cooley PS | 39°53'10.6"N 104°54'04.1"W | Pump Station | 7625 E 106th Ave | Vertiv GXT5-1500 | M580 BMEP582020 V4.40 | MDS SD4
Hammer Lake Flow | 39°57'27.1"N 104°51'37.2"W | Metering | 1450 Riverdale Rd, Thornton | Solar | RAD-2400-IFS | RAD-2400-IFS to Hammer PS
Federal Heights Meter 1 | 39°51'02.3"N 104°59'48.4"W | Metering | 84th and Huron | APC Back-UPS 450 | 171CBU98090 Firmware V2.80 | MDS 4710
Federal Heights Meter 2/3 | 39°51'52.2"N 105°00'21.5"W | Metering | Thornton Parkway and Pecos | APC Back-UPS 450 | 171CBU98090 Firmware V2.80 | MDS 4710
Federal Heights Meter 4/5 | 39°52'27.5"N 105°00'55.6"W | Metering | 98th and Zuni | APC Back-UPS 950 | 171CBU98090 Firmware V2.80 | MDS 4710
Brannon Lakes | 39°49'53.6"N 104°58'23.8"W | Storage | 1200 E. 75th Ave | APC Back-UPS 450 | 171CBU98090 Firmware V2.80 | MDS SD9
Croke Lake | 39°52'22.4"N 104°59'05.3"W | Storage | Behind Sam's Club | APC Back-UPS 450 | 171CBU98090 Firmware V2.80 | MDS SD9
Lambertson Lakes RTU | 39°52'47.2"N 104°58'33.7"W | Storage | Lambertson Lakes Apartments | Solar | Phoenix Contact RAD-900-IFS | MDS 4710
Margret Carpenter Lake | 39°53'50.7"N 104°56'45.1"W | Storage | 3444.5 E 112th | None | Rug3 | MDS 4710
WGL 1 | 39°50'54.9"N 104°56'46.5"W | Raw Water Storage | None | Solar | Stage Discharge Recorder | MDS 9810 to WGL Master
WGL Master (WGL 2) |  | Raw Water Storage | 8590 Riverdale Road | Solar | Stage Discharge Recorder | MDS 9810 Master Location
WGL 3 | 39°50'39.7"N 104°56'38.8"W | Raw Water Storage | None | Solar | Stage Discharge Recorder | MDS 9810 to WGL Master
SOUTH TANI | 39°50'43.9"N 104°56'16.2"W | Raw Water Storage | None | Solar | Stage Discharge Recorder | MDS 9810 to WGL Master
South Dahlia | 39°50'59.2"N 104°55'52.4"W | Raw Water Storage | None | Solar | Stage Discharge Recorder | MDS 9810 to WGL Master
North Dahlia | 39°51'28.8"N 104°55'33.5"W | Raw Water Storage | None | Solar | Stage Discharge Recorder | MDS 9810 to WGL Master
Mid cooley | 39°52'51.9"N 104°54'20.5"W | Raw Water Storage | 9820 Mckay Rd | Solar | Stage Discharge Recorder | MDS 9810 to McKay Master
East Cooley | 39°53'11.7"N 104°54'02.8"W | Irrigation Storage | None | [Pending] | [Pending] | MDS SD4
North Cooley | 39°52'54.4"N 104°54'20.2"W | Raw Water Storage | 9820 Mckay Rd | Solar | Stage Discharge Recorder | MDS 9810 to McKay Master
EGL 4 | 39°51'12.3"N 104°56'11.6"W | Raw Water Storage | None | APC Back-UPS 1500 | MDS 580 BMEP581020 V4.40 | MDS iNET 900 to Wes Brown Master
Grange Hall Pond 1 | 39°53'34.7"N 104°56'13.9"W | Irrigation Storage | None |  | M340 BMEP341000 V3.65 IR2 | MDS Orbit 450
Grandview Pond 1 | 39°53'02.9"N 104°55'58.7"W | Irrigation Storage | 4401 E 104th Ave, Thornton | Solar | 171CBU98090 Firmware V2.80 | MDS 4710
Hunters Glen pond 1 | 39°55'55.4"N 104°58'30.6"W | Irrigation Storage | 930 E 130th Ave, Thornton | Solar | Rug3 | MDS 4710
Marshall Lake Pond 1 | 39°56'17.5"N 104°54'55.6"W | Irrigation Storage | 6380 E 133rd Pl, Thornton | Solar | Rug3 | MDS 4710
East Lake pond 1 | 39°55'35.9"N 104°56'57.2"W | Irrigation Storage | 3438 - 3524 E 128th Ave, Thornton | Solar | Rug3 | MDS 4710
Arvada Pump Station | 39°52'30.7"N 104°54'39.4"W | Pump Station | 9820 Mckay Rd | Belkin | M340 BMEP341000 V3.65 IR2 | MDS SD4
Aylor Pond #2/3/4 Master | 39°56'52.6"N 104°54'38.0"W | Raw Water Storage | 13981 Quebec St, Thornton | Solar | Rug3 | MDS 4710
128th and Lafayette Flume | 39°55'41.5"N 104°58'07.3"W | Metering | 128th and Lafayette | Solar | Rug3 | MDS 4710
Willowbend Holly PRV | 39°57'27.9"N 104°55'20.9"W | PRV | 144th & Holly | SOLA | 171CBU98090 Firmware V2.80 | MDS 9810 to Hilltop Master
Willowbend Fairfax PRV | 39°57'28.0"N 104°55'43.9"W | PRV | 144th & Fairfax | SOLA | 171CBU98090 Firmware V2.80 | MDS 9810 to Hilltop Master
LCC Diversion Meter | 39°52'40.3"N 104°55'13.1"W | Metering | 5990 E 100th Ave, Thornton | Eaton SBX1500 | M340 V3.65 IR2 | MDS TransNext 900
West Spratte Lake | 39°52'34.9"N 104°54'54.1"W | Raw Water Storage | 5990 E 100th Ave, Thornton | None | RAD-900-IFS | RAD-900-IFS
Fulton Ditch | 39°53'08.1"N 104°53'44.3"W | Transfer | 7625 E 106th Ave | None | RAD-2400-IFS | RAD-2400-IFS