## UPS Systems and Batteries
Location | Name | Make | Model | Purchase/Install Date | Serial | kVA | Input/Output Voltage | Phase | Last Service Date | Details
City Hall | UPS 3 | Eaton | Powerware 93PM | 2019 | EM424UXX03 | 100 | 480/480 | 3 | 2025-12-29 | S/N: EM424UXX03, Capacity – 100
City Hall | UPS 3, Bat 1 | Eaton | Powerware PWHR1220W4FR | 2019 |  |  |  |  | 2025-12-29 | 36 Batteries, Dated 10/1/2023
City Hall | UPS 3, Bat 2 | Eaton | Powerware PWHR1220W4FR | 2019 |  |  |  |  | 2025-12-29 | 36 Batteries, Dated 10/1/2023
Justice Center | UPS | Eaton | Powerware 93PM | 2017 | EK461UXX01 | 40 | 480/480 | 3 | 2025-12-29 | S/N: EK461UXX01, Capacity - 40
Justice Center | UPS, Bat 1 | Eaton | Powerware PWHR1234W2FR | 2017 |  |  |  |  | 2025-12-29 | 36 Batteries, Dated 11/1/2021
Justice Center | UPS, Bat 2 | Eaton | Powerware PWHR1234W2FR | 2017 |  |  |  |  | 2025-12-29 | 36 Batteries, Dated 11/1/2021
Justice Center | UPS, Bat 3 | Eaton | Powerware PWHR1234W2FR | 2017 |  |  |  |  | 2025-12-29 | 36 Batteries, Dated 11/1/2021
Justice Center | UPS, Bat 4 | Eaton | Powerware PWHR1234W2FR | 2017 |  |  |  |  | 2025-12-29 | 36 Batteries, Dated 11/1/2021
Justice Center | UPS, Bat 5 | Eaton | Powerware PWHR1234W2FR | 2017 |  |  |  |  | 2025-12-29 | 36 Batteries, Dated 11/1/2021
Fossil Ridge Public Safety Center | UPS | Eaton | Powerware 9390 Series | 2018-11-02 | EM123CCC01 | 60 | 208/208 | 3 | 2025-12-29 | S/N: EM123CCC01, Capacity - 60
Fossil Ridge Public Safety Center | UPS, Bat 1 | Eaton | Powerware PWHR12200W4FR | 2018 |  |  |  |  | 2025-12-29 | 36 Batteries, Dated 09/1/2023
Thornton Water Treatment Plant | UPS 1 | Liebert | EXM 51SA050BAA00T82 | 2022-01-14 | M22A000357 | 50 | 480/480 | 3 | 2025-12-29 | Batteries Dated: 12/16/2021
Wes Brown Water Treatment Plant | UPS 1 | Liebert | EXM 51SA040BAA00S77 | 2020-05-06 | M20EUS0014 | 40 | 480/480 | 3 | 2026-05-13 | Batteries Dated: 3/1/2026